**REPORT ON THE WORKING OF LPT’s FOR THE MONTH OF: ……………. 201..**

**TRANSMISSION DETALLS PAGE: 1**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **LPT Make & Type Channel & Power** | **Height of Mast Condition of Antenna & Mast** | **MONTHLY REPORT ……………….. TOTAL** | | | | | | | | | | | | **Rent per month** | **Rent renewal due on** | **REMARKS** |
| **POWER** | | **Total hrs. of Work** | **Test Hrs.** | **Prog. Hrs Radiated** | **Schd. Prog. Hrs.** | **BREAK DOWN** | | | | | |
| **Forward** | **reflected** | **Gear** | **P/S** | **O/C** | **Total** | **DG Utii”n Hrs.** | **B/D of DG** |
| **1.** | **LPT ……….**  **100W BEL/MUV/137**  **Ch#11**  **100 Watt** | **45 M**  **OK.** | **60 W** | **0.2 W** | **570.45 Hrs** | **11.05 Hrs** | **558.95 Hrs** | **558.95Hrs** | **Nil** | **Nil** | **Nil** | **Nil** | **159.5 Hrs** | **Nil** | **Nil** | **Nil** | **50+50 GCEL**  **T/R**  **Working** |

**PROGRESSIVE TRANSMISSION DETAILS OF LPT’s UNDERE DMC**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **CENTER** | **PROGRESSIVE TOTAL** | | | | | | | | | **REMARK’s** |
|  | **PROG Hrs. RADIATED** | **TEST Hrs.** | **TOTAL Hrs of WORK** | **BREAK DOWN** | | | | **SCH. PROG Hrs** | **TOTAL % B/D = 8 X 100 / 9** |  |
| **Gear** | **P/S** | **O/C** | **TOTAL** |  |  |
| **1** | **2** | **3** | **4** | **5** | **6** | **7** | **8** | **9** | **10** | **11** |
| **T.V.R.C. ………….** | **4591.87** | **92.98** | **4684.85** | **--** | **--** | **---** | **-------Nil-------** | **558.95** | **0%** | **---** |

**DETAILS OF MAJOR & MINOR BREAK DOWN**

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **CENTRE** | **MONTHLY BREAK DOWN DETAILS** | | | | **GEAR B/D INCLUDING INPUT EQUIPMENTS** | | | | | **TOTAL Nos OF MOMENTARY INTERRUPTIONS MONTH** | **REMARK,s** |
| **DATE** | **FROM** | **TO** | **DURATION** | **GEAR P/S OC/** | **EQUPT.** | **MODULE** | **CORD** | **COMPONENTS / REPLACED / OTHER / CAUSES** |
| **T.V.R.C. …………..** | **Nil** | **Nil** | **Nil** | **Nil** | **Nil** | **Nil** | **Nil** | **Nil** | **Nil** | **Nil** |  |

**REPORT ON SPARE TESTING LPT BETUL UNDER DMC ITARSI FOR THE MONTH OF: ……………….**

NOTE :- No VLPT is attached to LPT …………

**CONSOLIDATED MONTHLY REPORT OF LPT’s UNDER DDMC”s FOR THE MONTH OF: ……………… 2011 PAGE: 3**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **DDMC** | **Name of LPT Make Model / CH#** | **Schd. Prog. Hrs.** | **POWER** | | **Major B/D** | | **Working Status** | | | | **PSE EQPT.** | | | **A/C Plant** | | **Mast** | **Antenna** | **Feeder Cable** | **Range & Quality of X’sion** | **Un – covered area if any** | **Compl-aint if any** | **Bldg. Status** | | **Critical spares Regu’d** |
| **Fwd** | **Ref** | **No** | **Dur.** | **Input** | **Mon.** | **Trg Eqpts** | **Meas.** | **AVR Spike** | **DG Make** | **DG model** | **Working** | **Def.** | **Rented/**  **own** | **Cond**  **-ition** |
| **1.** | **Itarsi** | **LPT ………….**  **100W BEL/MUV/137**  **Ch#11**  **100 Watt** | **558.95**  **Hrs.** | **100**  **Watt Peak** | **0.2**  **Watt** | **Nil** | **Nil** | **OK** | **OK** | **OK** | **OK** | **OK** | **Kirloskar 10 KVA** | **HA 294** | **Amtex make**  **Split A/C**  **1 No**  **Voltas make AV**  **1 No.** | **2 No.**  **Voltas make**  **Out of Order** | **45 M.** | **V- type** | **OK** | **20 Kms.** | **Nil** | **Nil** | **PWD Quarter** | **OK** | **Nil** |

**INCUMBUNCY OF STAFF AT LPT …………….**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **Name Of the Staff** | **Designation** | **Date of Birth** | **Date of Joining at LPT ……………….** | **Remarks** |
| **1.** | **Sh.** | **SEA** |  |  |  |
| **2.** | **Sh.** | **EA** |  |  |  |
| **3.** | **Sh.** | **EA** |  |  |  |
| **4.** | **Sh.** | **Sr. Tech** |  |  |  |
| **5.** | **Sh.** | **Tech.** |  |  |  |
| **6.** | **Sh.** | **Tech.** |  |  |  |
| **7.** | **Sh.** | **Helper** |  |  |  |

**CERTIFICATE**

Certified that Shri ………….., Shri …………. Shri ………………….

Performed their duties as a Security Guard on Contract basis. Round the clock

For The month of : …………………..

Dated : 01/12/2011

Assistant Engineer

Place : LPT …………………… T.V. Relay Centre ………… (M.P.)